## Sheet 1
240426_R_7rpm_1um_500_34oC |  |  | P23(Poloxamer 407), 1 µm PET membrane,7 RPM, 28 °C, n=4 channels
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.065 | 0.1 | 0.13 | 0.151 | 0.169 | 0.185 | 0.197 | 0.216 | 0.232 | 0.255 | 0.273 | 0.287 | 660
B | 0.066 | 0.114 | 0.136 | 0.158 | 0.169 | 0.191 | 0.207 | 0.22 | 0.235 | 0.249 | 0.268 | 0.286 | 660
C | 0.074 | 0.105 | 0.134 | 0.148 | 0.163 | 0.169 | 0.186 | 0.2 | 0.218 | 0.239 | 0.259 | 0.272 | 660
D | 0.077 | 0.101 | 0.131 | 0.142 | 0.156 | 0.169 | 0.183 | 0.205 | 0.223 | 0.243 | 0.254 | 0.264 | 660
E | 0.292 | 0.307 | 0.321 | 0.333 | 0.346 | 0.365 | 0.383 | 0.402 | 0.431 | 0.459 | 0.486 | 0.516 | 660
F | 0.291 | 0.316 | 0.321 | 0.336 | 0.35 | 0.361 | 0.381 | 0.389 | 0.41 | 0.437 | 0.459 | 0.511 | 660
G | 0.295 | 0.305 | 0.316 | 0.327 | 0.339 | 0.345 | 0.371 | 0.373 | 0.402 | 0.422 | 0.449 | 0.512 | 660
H | 0.279 | 0.284 | 0.307 | 0.32 | 0.341 | 0.346 | 0.368 | 0.375 | 0.381 | 0.396 | 0.433 | 0.492 | 660

## Info
P23(Poloxamer 407), 1 µm PET membrane,7 RPM, 28 °C, n=4 channels
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.065 | 0.1 | 0.13 | 0.151 | 0.169 | 0.185 | 0.197 | 0.216 | 0.232 | 0.255 | 0.273 | 0.287 | 660
B | 0.066 | 0.114 | 0.136 | 0.158 | 0.169 | 0.191 | 0.207 | 0.22 | 0.235 | 0.249 | 0.268 | 0.286 | 660
C | 0.074 | 0.105 | 0.134 | 0.148 | 0.163 | 0.169 | 0.186 | 0.2 | 0.218 | 0.239 | 0.259 | 0.272 | 660
D | 0.077 | 0.101 | 0.131 | 0.142 | 0.156 | 0.169 | 0.183 | 0.205 | 0.223 | 0.243 | 0.254 | 0.264 | 660
E | 0.292 | 0.307 | 0.321 | 0.333 | 0.346 | 0.365 | 0.383 | 0.402 | 0.431 | 0.459 | 0.486 | 0.516 | 660
F | 0.291 | 0.316 | 0.321 | 0.336 | 0.35 | 0.361 | 0.381 | 0.389 | 0.41 | 0.437 | 0.459 | 0.511 | 660
G | 0.295 | 0.305 | 0.316 | 0.327 | 0.339 | 0.345 | 0.371 | 0.373 | 0.402 | 0.422 | 0.449 | 0.512 | 660
H | 0.279 | 0.284 | 0.307 | 0.32 | 0.341 | 0.346 | 0.368 | 0.375 | 0.381 | 0.396 | 0.433 | 0.492 | 660
Time (min) | 17 | 34 | 51 | 68 | 85 | 102 | 119 | 136 | 153 | 170 | 187 | 204
Ch1 (A) | 0.065 | 0.1 | 0.13 | 0.151 | 0.169 | 0.185 | 0.197 | 0.216 | 0.232 | 0.255 | 0.273 | 0.287
Ch2 (B) | 0.066 | 0.114 | 0.136 | 0.158 | 0.169 | 0.191 | 0.207 | 0.22 | 0.235 | 0.249 | 0.268 | 0.286
Ch3 (C) | 0.074 | 0.105 | 0.134 | 0.148 | 0.163 | 0.169 | 0.186 | 0.2 | 0.218 | 0.239 | 0.259 | 0.272
Ch4 (D) | 0.077 | 0.101 | 0.131 | 0.142 | 0.156 | 0.169 | 0.183 | 0.205 | 0.223 | 0.243 | 0.254 | 0.264
Time (min) | 221 | 238 | 255 | 272 | 289 | 306 | 323 | 340 | 357 | 374 | 391 | 408
Ch1 (E) | 0.292 | 0.307 | 0.321 | 0.333 | 0.346 | 0.365 | 0.383 | 0.402 | 0.431 | 0.459 | 0.486 | 0.516
Ch2 (F) | 0.291 | 0.316 | 0.321 | 0.336 | 0.35 | 0.361 | 0.381 | 0.389 | 0.41 | 0.437 | 0.459 | 0.511
Ch3 (G) | 0.295 | 0.305 | 0.316 | 0.327 | 0.339 | 0.345 | 0.371 | 0.373 | 0.402 | 0.422 | 0.449 | 0.512
Ch4 (H) | 0.279 | 0.284 | 0.307 | 0.32 | 0.341 | 0.346 | 0.368 | 0.375 | 0.381 | 0.396 | 0.433 | 0.492
Formulations
Ch1 | P23-1
Ch2 | P23-2
Ch3 | P23-3 | [11 empty] | 300
Ch4 | P23-4
Receptor cell (ml)
Ch1 | 19
Ch2 | 19.6
Ch3 | 17.4
Ch4 | 20.2
Donor cell (ml)
Ch1 | 0.5 | 250 | ug MB
Ch2 | 0.5 | 250 | ug MB
Ch3 | 0.5 | 250 | ug MB
Ch4 | 0.5 | 250 | ug MB
Flow RMSP (Q+) / (Q-) ml/min |  | 7RPM
Ch1
Ch2
Ch3
Ch4
Temperature (oC) +/-1
Ch1 | 28
Ch2 | 28
Ch3 | 28
Ch4 | 28

## Correction Blank
Correction O.D
| Time (min) | 17 | 34 | 51 | 68 | 85 | 102 | 119 | 136 | 153 | 170 | 187 | 204 | 221 | 238 | 255 | 272 | 289 | 306 | 323 | 340 | 357 | 374 | 391 | 408
| P23-1 | 0.015 | 0.05 | 0.08 | 0.101 | 0.119 | 0.135 | 0.147 | 0.166 | 0.182 | 0.205 | 0.223 | 0.237 | 0.242 | 0.257 | 0.271 | 0.283 | 0.296 | 0.315 | 0.333 | 0.352 | 0.381 | 0.409 | 0.436 | 0.466
| P23-2 | 0.016 | 0.064 | 0.086 | 0.108 | 0.119 | 0.141 | 0.157 | 0.17 | 0.185 | 0.199 | 0.218 | 0.236 | 0.241 | 0.266 | 0.271 | 0.286 | 0.3 | 0.311 | 0.331 | 0.339 | 0.36 | 0.387 | 0.409 | 0.461
| P23-3 | 0.024 | 0.055 | 0.084 | 0.098 | 0.113 | 0.119 | 0.136 | 0.15 | 0.168 | 0.189 | 0.209 | 0.222 | 0.245 | 0.255 | 0.266 | 0.277 | 0.289 | 0.295 | 0.321 | 0.323 | 0.352 | 0.372 | 0.399 | 0.462
| P23-4 | 0.027 | 0.051 | 0.081 | 0.092 | 0.106 | 0.119 | 0.133 | 0.155 | 0.173 | 0.193 | 0.204 | 0.214 | 0.229 | 0.234 | 0.257 | 0.27 | 0.291 | 0.296 | 0.318 | 0.325 | 0.331 | 0.346 | 0.383 | 0.442

## Conversions
1.25
Convert to MB content (ug)
| Time (min) | 17 | 34 | 51 | 68 | 85 | 102 | 119 | 136 | 153 | 170 | 187 | 204 | 221 | 238 | 255 | 272 | 289 | 306 | 323 | 340 | 357 | 374 | 391 | 408
| P23-1 | -0.54059 | -0.2477 | 0.0033473 | 0.17908 | 0.32971 | 0.4636 | 0.56402 | 0.72301 | 0.8569 | 1.0494 | 1.2 | 1.3172 | 1.359 | 1.4845 | 1.6017 | 1.7021 | 1.8109 | 1.9699 | 2.1205 | 2.2795 | 2.5222 | 2.7565 | 2.9824 | 3.2335
| P23-2 | -0.53222 | -0.13054 | 0.053556 | 0.23766 | 0.32971 | 0.51381 | 0.6477 | 0.75649 | 0.88201 | 0.99916 | 1.1582 | 1.3088 | 1.3506 | 1.5598 | 1.6017 | 1.7272 | 1.8444 | 1.9364 | 2.1038 | 2.1707 | 2.3464 | 2.5724 | 2.7565 | 3.1916
| P23-3 | -0.46527 | -0.20586 | 0.03682 | 0.15397 | 0.2795 | 0.32971 | 0.47197 | 0.58912 | 0.73975 | 0.91548 | 1.0828 | 1.1916 | 1.3841 | 1.4678 | 1.5598 | 1.6519 | 1.7523 | 1.8025 | 2.0201 | 2.0368 | 2.2795 | 2.4469 | 2.6728 | 3.2
| P23-4 | -0.44017 | -0.23933 | 0.011715 | 0.10377 | 0.22092 | 0.32971 | 0.44686 | 0.63096 | 0.78159 | 0.94895 | 1.041 | 1.1247 | 1.2502 | 1.2921 | 1.4845 | 1.5933 | 1.769 | 1.8109 | 1.995 | 2.0536 | 2.1038 | 2.2293 | 2.5389 | 3.0326
a | 0.1195
b | 0.0796
Vol.Media (ml) | 20
5.95

## Cumulative Release
HTDPA P15 – Sampling-Corrected Cumulative Methylene Blue Release
P23(Poloxamer 407), 1 µm PET membrane,7 RPM, 28 °C, n=4 channels
EDIT
Calculation inputs
Receptor volume (mL) | 19 | 0 | Equation | Qn = V·Cn + Vs·SUM(C1:Cn-1)
19.6
17.4
20.2
Sample volume replaced (mL) | 0.25 |  | Interpretation | Current amount in the 20 mL receptor + all MB removed in previous 250 µL samples. The current sample is not added separately.
Initial MB in donor (µg) | 250 |  | Data handling | Concentrations are linked directly from Conversions and are not truncated; negative early values are retained exactly as calculated.
Measured concentration (µg/mL)
| Time (min) | 17 | 34 | 51 | 68 | 85 | 102 | 119 | 136 | 153 | 170 | 187 | 204 | 221 | 238 | 255 | 272 | 289 | 306 | 323 | 340 | 357 | 374 | 391 | 408
| P23-1 | -0.54059 | -0.2477 | 0.0033473 | 0.17908 | 0.32971 | 0.4636 | 0.56402 | 0.72301 | 0.8569 | 1.0494 | 1.2 | 1.3172 | 1.359 | 1.4845 | 1.6017 | 1.7021 | 1.8109 | 1.9699 | 2.1205 | 2.2795 | 2.5222 | 2.7565 | 2.9824 | 3.2335
| P23-2 | -0.53222 | -0.13054 | 0.053556 | 0.23766 | 0.32971 | 0.51381 | 0.6477 | 0.75649 | 0.88201 | 0.99916 | 1.1582 | 1.3088 | 1.3506 | 1.5598 | 1.6017 | 1.7272 | 1.8444 | 1.9364 | 2.1038 | 2.1707 | 2.3464 | 2.5724 | 2.7565 | 3.1916
| P23-3 | -0.46527 | -0.20586 | 0.03682 | 0.15397 | 0.2795 | 0.32971 | 0.47197 | 0.58912 | 0.73975 | 0.91548 | 1.0828 | 1.1916 | 1.3841 | 1.4678 | 1.5598 | 1.6519 | 1.7523 | 1.8025 | 2.0201 | 2.0368 | 2.2795 | 2.4469 | 2.6728 | 3.2
| P23-4 | -0.44017 | -0.23933 | 0.011715 | 0.10377 | 0.22092 | 0.32971 | 0.44686 | 0.63096 | 0.78159 | 0.94895 | 1.041 | 1.1247 | 1.2502 | 1.2921 | 1.4845 | 1.5933 | 1.769 | 1.8109 | 1.995 | 2.0536 | 2.1038 | 2.2293 | 2.5389 | 3.0326
Sampling-corrected cumulative release (µg)
| Time (min) | 17 | 34 | 51 | 68 | 85 | 102 | 119 | 136 | 153 | 170 | 187 | 204 | 221 | 238 | 255 | 272 | 289 | 306 | 323 | 340 | 357 | 374 | 391 | 408
| P23-1 | -10.2711 | -4.8414 | -0.13347 | 3.2063 | 6.113 | 8.7393 | 10.7632 | 13.9251 | 16.6498 | 20.5209 | 23.6452 | 26.1711 | 27.2954 | 30.0201 | 32.6172 | 34.9255 | 37.418 | 40.8916 | 44.246 | 47.7971 | 52.9778 | 58.0603 | 63.0423 | 68.5577
| P23-2 | -10.4315 | -2.6917 | 0.88402 | 4.5058 | 6.3694 | 10.0602 | 12.8129 | 15.107 | 17.7564 | 20.2731 | 23.6392 | 26.8811 | 28.0284 | 32.4664 | 33.6765 | 36.5372 | 39.2652 | 41.5305 | 45.2949 | 47.133 | 51.12 | 56.1351 | 60.3865 | 69.6045
| P23-3 | -8.0957 | -3.6982 | 0.47289 | 2.5206 | 4.7432 | 5.6867 | 8.2444 | 10.4009 | 13.1691 | 16.4118 | 19.5528 | 21.7164 | 25.3633 | 27.1654 | 29.134 | 31.1256 | 33.2859 | 34.5976 | 38.834 | 39.6302 | 44.362 | 47.844 | 52.3871 | 62.2285
| P23-4 | -8.8914 | -4.9445 | 0.066778 | 1.9291 | 4.3216 | 6.5743 | 9.0233 | 12.8538 | 16.0542 | 19.6304 | 21.727 | 23.6777 | 26.4944 | 27.6521 | 31.863 | 34.4316 | 38.3797 | 39.6672 | 43.8387 | 45.5208 | 47.0484 | 50.1099 | 56.9216 | 67.5295
Sampling-corrected cumulative release (% of 250 µg donor dose)
| Time (min) | 17 | 34 | 51 | 68 | 85 | 102 | 119 | 136 | 153 | 170 | 187 | 204 | 221 | 238 | 255 | 272 | 289 | 306 | 323 | 340 | 357 | 374 | 391 | 408
| P23-1 | -4.1085 | -1.9366 | -0.053389 | 1.2825 | 2.4452 | 3.4957 | 4.3053 | 5.57 | 6.6599 | 8.2084 | 9.4581 | 10.4685 | 10.9182 | 12.008 | 13.0469 | 13.9702 | 14.9672 | 16.3567 | 17.6984 | 19.1188 | 21.1911 | 23.2241 | 25.2169 | 27.4231
| P23-2 | -4.1726 | -1.0767 | 0.35361 | 1.8023 | 2.5477 | 4.0241 | 5.1252 | 6.0428 | 7.1026 | 8.1093 | 9.4557 | 10.7524 | 11.2113 | 12.9866 | 13.4706 | 14.6149 | 15.7061 | 16.6122 | 18.118 | 18.8532 | 20.448 | 22.454 | 24.1546 | 27.8418
| P23-3 | -3.2383 | -1.4793 | 0.18915 | 1.0082 | 1.8973 | 2.2747 | 3.2978 | 4.1604 | 5.2676 | 6.5647 | 7.8211 | 8.6866 | 10.1453 | 10.8661 | 11.6536 | 12.4502 | 13.3143 | 13.839 | 15.5336 | 15.8521 | 17.7448 | 19.1376 | 20.9548 | 24.8914
| P23-4 | -3.5566 | -1.9778 | 0.026711 | 0.77165 | 1.7286 | 2.6297 | 3.6093 | 5.1415 | 6.4217 | 7.8522 | 8.6908 | 9.4711 | 10.5978 | 11.0609 | 12.7452 | 13.7727 | 15.3519 | 15.8669 | 17.5355 | 18.2083 | 18.8193 | 20.0439 | 22.7686 | 27.0118
All CH | Average (%) | -3.769 | -1.6176 | 0.12902 | 1.2162 | 2.1547 | 3.1061 | 4.0844 | 5.2287 | 6.363 | 7.6836 | 8.8564 | 9.8446 | 10.7181 | 11.7304 | 12.7291 | 13.702 | 14.8349 | 15.6687 | 17.2214 | 18.0081 | 19.5508 | 21.2149 | 23.2737 | 26.792
| S.D. (%) | 0.44903 | 0.42552 | 0.18055 | 0.44302 | 0.40277 | 0.79847 | 0.81168 | 0.80171 | 0.7828 | 0.76089 | 0.77897 | 0.94762 | 0.45676 | 0.97473 | 0.77627 | 0.90869 | 1.0576 | 1.2584 | 1.1516 | 1.4873 | 1.5591 | 1.9372 | 1.8425 | 1.3116
| C.V. (%) | -11.914 | -26.3059 | 139.939 | 36.4272 | 18.6925 | 25.707 | 19.8727 | 15.3329 | 12.3025 | 9.9028 | 8.7956 | 9.6257 | 4.2616 | 8.3094 | 6.0984 | 6.6318 | 7.1294 | 8.0311 | 6.6872 | 8.2592 | 7.9746 | 9.1315 | 7.9166 | 4.8955
Note | The existing Conversions sheet applies sampling correction only at selected cells. This sheet uses the cumulative correction at every time point and leaves the original sheet unchanged.